## info_nodo
fecha_actualizacion | nombre_nodo | tipo | codigo | regional | direccion | capacidad_kva | Racks | racks_fila1 | maximo_fila1 | racks_fila2 | maximo_fila2 | maximo_racks
2026-03-06 09:18 | IDEO | IV | COL-VAL-CLO-IDO | SUR | Carrera 1 # 62 - 00, bodega 3 - cali | 75.0 | 11 | 4 | 6 | 8 | 10 | 16

## protecciones
fecha_actualizacion | ubicacion | componente | marca | referencia | capacidad_amps | tipo | calibre_cable_salida
2026-03-06 09:19 | TR | Totalizador Red | CHINT | NXM-250S/3300 | 250 | AC | 4/0
2026-03-06 09:19 | TR | Contactor Red | ABB | AF265‑30 | 400 | AC | 4/0
2026-03-06 09:19 | TR | Contactor Generador | ABB | AF265‑30 | 400 | AC | 4/0
2026-03-06 09:19 | ML | Totalizador ML | CHINT | NM1-25OS/3300 | 225 | AC | Barraje
2026-03-06 09:19 | ML | Breaker Rect1 | CHINT | NM1-125S/3300 | 125 | AC | 1/0
2026-03-06 09:19 | ML | Breaker Rect2 | CHINT | NM1-125S/3300 | 125 | AC | 1/0
2026-03-06 09:19 | Rect1 | Fusible PDB1 A | Bussmann | NH3 | 500 | DC | 1/0
2026-03-06 09:19 | Rect1 | Fusible PDB2 A | Bussmann | NH3 | 500 | DC | 1/0
2026-03-06 09:19 | Rect2 | Fusible PDB1 B | Bussmann | NH3 | 500 | DC | 1/0
2026-03-06 09:19 | Rect2 | Fusible PDB2 B | Bussmann | NH3 | 500 | DC | 1/0
2026-03-06 09:19 | PDB1 | Totalizador Fuente A | Schneider Electric | EasyPact EZC250N | 250 | DC | Barraje
2026-03-06 09:19 | PDB1 | Totalizador Fuente B | Schneider Electric | EasyPact EZC250N | 250 | DC | Barraje
2026-03-06 09:19 | PDB2 | Totalizador Fuente A | Schneider Electric | EasyPact EZC250F | 250 | DC | Barraje
2026-03-06 09:19 | PDB2 | Totalizador Fuente B | Schneider Electric | EasyPact EZC250F | 250 | DC | Barraje

## inventario_pdb
fecha_actualizacion | pdb_nombre | fuente | posicion | estado | capacidad | corriente | equipo_refencia
2026-03-06 09:20 | PDB1 | A | 1 | OCUPADO | 80 | 9.8 | Schneider Electric C120N C80A NOKIA 7750 SR-12 clo-cci-7750sr12-01
2026-03-06 09:20 | PDB1 | A | 2 | OCUPADO | 6 | 9.1 | Schneider Electric IC60N C6A NOKIA 7210 SAS-sx clo-cci-s7210-01
2026-03-06 09:20 | PDB1 | A | 3 | OCUPADO | 6 | 2.2 | Schneider Electric IC60N C6A NOKIA 7210 SAS-sx clo-cci-s7210-02
2026-03-06 09:20 | PDB1 | A | 4 | OCUPADO | 16 | 2.2 | Schneider Electric IC60N C16A NOKIA 7210 SAS-sx clo-cci-dass-s7210-01
2026-03-06 09:20 | PDB1 | A | 5 | OCUPADO | 16 | 2.4 | Schneider Electric IC60N C16A NOKIA 7210 SAS-sx clo-cci-dass-s7210-02
2026-03-06 09:20 | PDB1 | A | 6 | OCUPADO | 100 | 23 | Legrand DX³ C100 25kA CMTS 01 IDEO F1 R1 FTE A CTO01 PDB01 FTE A CTO 07
2026-03-06 09:20 | PDB1 | A | 7 | OCUPADO | 100 | 16.4 | Legrand DX³ C100 25kA CMTS 01 IDEO F1 R1 FTE A CTO02 PDB01 FTE A CTO 92
2026-03-06 09:20 | PDB1 | A | 8 | OCUPADO | 10 | 1.1 | CHINT NXB-63 C10
2026-03-06 09:20 | PDB1 | A | 9 | OCUPADO | 10 | 2.1 | Schneider Electric Easy9 MCB C10 (EZ9F56110) - shelf 1
2026-03-06 09:20 | PDB1 | A | 10 | OCUPADO | 10 | 1.7 | Schneider Electric Easy9 MCB C10 (EZ9F56110) - shelf 2
2026-03-06 09:20 | PDB1 | A | 11 | OCUPADO | 10 | 1.1 | Schneider Electric Easy9 MCB C10 (EZ9F56110) - shelf 2
2026-03-06 09:20 | PDB1 | A | 12 | OCUPADO | 10 | 2.7 | Schneider Electric C60H-DC 0 63A – pdu
2026-03-06 09:20 | PDB1 | A | 13 | OCUPADO | 63 | 4.1 | Nader NDM1A-63 C10
2026-03-06 09:20 | PDB1 | A | 14 | OCUPADO | 10 | 2.4 | Merlin Gerin Multi9 C60N C10 - Arris 1MHP Max 5000
2026-03-06 09:20 | PDB1 | A | 15 | OCUPADO | 10 | 1.7 | Merlin Gerin Multi9 C60N C10 - Arris 2MHP Max 5000
2026-03-06 09:20 | PDB1 | A | 16 | OCUPADO | 100 | 25 | Schneider Electric C120N C100A - CMTS 2
2026-03-06 09:20 | PDB1 | A | 17 | OCUPADO | 100 | 14 | Schneider Electric C120N C100A - CMTS 2
2026-03-06 09:20 | PDB1 | A | 18 | OCUPADO | 6 | 3.5 | Merlin Gerin Multi9 C60N C6
2026-03-06 09:20 | PDB1 | A | 19 | OCUPADO | 6 | 3.1 | Merlin Gerin Multi9 C60N C6
2026-03-06 09:20 | PDB1 | A | 20 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB1 | A | 21 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB1 | B | 1 | OCUPADO | 80 | 9.8 | Schneider Electric IC60N C16A NOKIA 7750 SR-12 clo-cci-7750sr12-01
2026-03-06 09:20 | PDB1 | B | 2 | OCUPADO | 6 | 9.1 | Schneider Electric IC60N C16A NOKIA 7210 SAS-sx clo-cci-s7210-01
2026-03-06 09:20 | PDB1 | B | 3 | OCUPADO | 6 | 2.2 | Schneider Electric C60H-DC C16A NOKIA 7210 SAS-sx clo-cci-s7210-02
2026-03-06 09:20 | PDB1 | B | 4 | OCUPADO | 16 | 2.2 | Schneider Electric C60H-DC C6A NOKIA 7210 SAS-sx clo-cci-dass-s7210-01
2026-03-06 09:20 | PDB1 | B | 5 | OCUPADO | 16 | 2.2 | Schneider Electric C120N C80A NOKIA 7210 SAS-sx clo-cci-dass-s7210-02
2026-03-06 09:20 | PDB1 | B | 6 | OCUPADO | 100 | 23 | Legrand DX³ – Capacidad: C100, 25kA CMTS 01 IDEO F1 R1 FTE B CTO01 PDB01 FTE B CTO 07 - CMTS 1
2026-03-06 09:20 | PDB1 | B | 7 | OCUPADO | 100 | 16.4 | Legrand DX³ – Capacidad: C100, 25kA CMTS 01 IDEO F1 R1 FTE B CTO02 PDB01 FTE B CTO 08: CMTS 1
2026-03-06 09:20 | PDB1 | B | 8 | OCUPADO | 10 | 2.1 | Schneider Electric Easy9 MCB – Capacidad: C10 (Referencia: EZ9F56110) - shelf 1 rack2
2026-03-06 09:20 | PDB1 | B | 9 | OCUPADO | 10 | 2.1 | Schneider Electric Easy9 MCB – Capacidad: C10 (Referencia: EZ9F56110) - shelf 1 rack2 breaker
2026-03-06 09:20 | PDB1 | B | 10 | OCUPADO | 10 | 2.1 | Schneider Electric C60H-DC – Capacidad: 63ª - shelf 2 rack2 breaker
2026-03-06 09:20 | PDB1 | B | 11 | OCUPADO | 10 | 1.7 | Nader NDM1A-63 – Capacidad: C10 - pdu
2026-03-06 09:20 | PDB1 | B | 12 | OCUPADO | 10 | 2.7 | Merlin Gerin Multi9 C60N – Capacidad: C10
2026-03-06 09:20 | PDB1 | B | 13 | OCUPADO | 63 | 4.1 | Merlin Gerin Multi9 C60N – Capacidad: C10 -
2026-03-06 09:20 | PDB1 | B | 14 | OCUPADO | 10 | 5.2 | Merlin Gerin Multi9 C60N – Capacidad: C10
2026-03-06 09:20 | PDB1 | B | 15 | OCUPADO | 10 | 0 | Merlin Gerin Multi9 C60N – Capacidad: C16
2026-03-06 09:20 | PDB1 | B | 16 | OCUPADO | 100 | 0 | Schneider Electric C120N – Capacidad: C100A
2026-03-06 09:20 | PDB1 | B | 17 | OCUPADO | 100 | 0 | Schneider Electric C120N – Capacidad: C100A - arrris shelf4 breaker 16A
2026-03-06 09:20 | PDB1 | B | 18 | OCUPADO | 6 | 3.9 | Merlin Gerin Multi9 C60N – Capacidad: C10 - CMTS 2 breaker 100A
2026-03-06 09:20 | PDB1 | B | 19 | OCUPADO | 6 | 14 | Merlin Gerin Multi9 C60N – Capacidad: C10 - CMTS 2 breaker 100A
2026-03-06 09:20 | PDB1 | B | 20 | LIBRE | 0 | 14 | SIN ASIGNAR
2026-03-06 09:20 | PDB1 | B | 21 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 1 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 1
2026-03-06 09:20 | PDB2 | A | 2 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 2
2026-03-06 09:20 | PDB2 | A | 3 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 3
2026-03-06 09:20 | PDB2 | A | 4 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 5 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 6 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 7 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 8 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 9 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 10 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 11 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 12 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 13 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 14 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 15 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 16 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 17 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 18 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 19 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 20 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 21 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 22 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 23 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 24 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 25 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | A | 26 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 1 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 1 Fuente B
2026-03-06 09:20 | PDB2 | B | 2 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 2 Fuente B
2026-03-06 09:20 | PDB2 | B | 3 | OCUPADO | 10 | 0 | CHINT NXB-63 – Capacidad: C10, Circuito 3 Fuente B
2026-03-06 09:20 | PDB2 | B | 4 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 5 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 6 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 7 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 8 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 9 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 10 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 11 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 12 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 13 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 14 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 15 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 16 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 17 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 18 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 19 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 20 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 21 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 22 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 23 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 24 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 25 | LIBRE | 0 | 0 | SIN ASIGNAR
2026-03-06 09:20 | PDB2 | B | 26 | LIBRE | 0 | 0 | SIN ASIGNAR

## inventario_racks
fecha_actualizacion | nombre_rack | Label | u_totales | Espacio | u_ocupadas_listado | u_libres_listado | nombre_foto | Detalle_rack
2026-03-06 09:21 | CLO-IDO-01-R1 | NOKIA-S7210-SAS-SX-01-02-RACK1 | 44 | Disponible | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23 | 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila1_Rack1.jpg?csf=1&web=1&e=4f3ziV | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/01-RACK1.xlsx?d=w08dc96cc773e47f7be6c9f79f5f36901&csf=1&web=1&e=7iw8Dh
2026-03-06 09:20 | CLO-IDO-01-R2 | GPX147-R2-RA2-STX-F1-R2-ODF | 45 | Disponible | 40, 41, 42, 43, 44, 45 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila1_Rack2.jpg?csf=1&web=1&e=g8b4j0 | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/01-RACK2.xlsx?d=wb7baa7a776b34717b1ba40f17ec64781&csf=1&web=1&e=EUGa3z
2026-03-06 09:20 | CLO-IDO-01-R3 | ODF-CCI-CCIDCLO-OLT01-H | 46 | Disponible | 3, 4, 5, 6, 7, 8, 9, 10, 11 | 1, 2, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45, 46 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila1_Rack3.jpg?csf=1&web=1&e=uNKoXQ | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/01-RACK3.xlsx?d=w6f62834ebdf24baaa745c0e522db580e&csf=1&web=1&e=tZW1s2
2026-03-06 09:20 | CLO-IDO-01-R4 | CCIDCLO-OLT01-CCI | 44 | Disponible | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 42, 43, 44 | 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila1_rack4.jpg?csf=1&web=1&e=ksz3l2 | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/01-RACK3.xlsx?d=w6f62834ebdf24baaa745c0e522db580e&csf=1&web=1&e=tZW1s2
2026-03-06 09:20 | CLO-IDO-02-R1 | RACK1 | 45 | Disponible | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 17, 18, 19, 20, 21, 22, 23 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack1.jpg?csf=1&web=1&e=orANuN | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK1.xlsx?d=w8ec4d1f507f24ed6a2ae3460acb1af0b&csf=1&web=1&e=tQoohd
2026-03-06 09:20 | CLO-IDO-02-R2 | RACK2 | 45 | Disponible | 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 1, 2 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack2.jpg?csf=1&web=1&e=oKMtVK | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK1.xlsx?d=w8ec4d1f507f24ed6a2ae3460acb1af0b&csf=1&web=1&e=tQoohd
2026-03-06 09:20 | CLO-IDO-02-R3 | RACK3 | 45 | Disponible | 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 30, 31, 32, 33, 34 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack3.jpg?csf=1&web=1&e=yIrLqN | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK3.xlsx?d=w9a09f270798d451a8561df11d598ccca&csf=1&web=1&e=Kt1g1Z
2026-03-06 09:20 | CLO-IDO-02-R4 | RACK4-ODF | 45 | Disponible | 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41 | 1, 2, 3, 4, 42, 43, 44, 45 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack4.jpg?csf=1&web=1&e=iQfakL | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK4.xlsx?d=w5918878ba11b4462a98d2b1437a45982&csf=1&web=1&e=dXDwdY
2026-03-06 09:20 | CLO-IDO-02-R5 | RACK5-ODF | 45 | Disponible | 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack5.jpg?csf=1&web=1&e=QgjdT4 | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK4.xlsx?d=w5918878ba11b4462a98d2b1437a45982&csf=1&web=1&e=dXDwdY
2026-03-06 09:20 | CLO-IDO-02-R6 | RACK6 | 45 | Disponible | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 17, 18, 19, 20, 21, 22, 23, 24, 25, 26 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack6.jpg?csf=1&web=1&e=IGeaNl | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK6.xlsx?d=w194ec51a6a804b5ba38a0cd74a664a8b&csf=1&web=1&e=0vDFfM
2026-03-06 09:20 | CLO-IDO-02-R7 | RACK7 | 45 | Disponible | 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42, 43, 44, 45 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack7.jpg?csf=1&web=1&e=m4mtX0 | https://millicom.sharepoint.com/:x:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/Rack%20IDEO_25_11_2025/Informacion%20de%20racks/02-RACK7.xlsx?d=wda6ff7612e0f4a03965b5d7e13902e60&csf=1&web=1&e=ZCt7Sv
2026-03-06 09:20 | CLO-IDO-02-R8 | RACK8 | 45 | Disponible | Vacio | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39,40, 41, 42, 43, 44, 45 | https://millicom.sharepoint.com/:i:/r/sites/Modeladodeinfraestructuradelosnodos/Documentos%20compartidos/IDEO%20Informaci%C3%B3n/fotos_racks/fila2_rack7.jpg?csf=1&web=1&e=m4mtX0